## NREL_5MW
Blade-element data generated by WT_Perf (v3.05.00a-adp, 09-Nov-2012) for input file "Sandia100.wtp".
Generated on 17-Apr-2014 at 17:37:45.
Input file title:
WT_Perf Test01 input file. "Ideal" blade layout for constant a=1/3 (Non-dimen, English, Space, BEM).
Blade-element data for:
7.44 | rpm Rotation Rate
0 | deg Blade Pitch
11.4 | m/s Wind Speed
Element | RElm | IncidAng | Azimuth | Loc Vel | Re | Loss | Axial Ind. | Tang. Ind. | Airflow Angle | AlfaD | Cl | Cd | Cm | Cpmin | CavNum | Cav | Thrust Coef | Torque Coef | Power Coef | Thrust/Len | Torque/Len | Power | Converge | PerPerr
(-) | (m) | (deg) | (deg) | (m/s) | (millions) | (-) | (-) | (-) | (deg) | (deg) | (-) | (-) | (-) | (-) | (-) | (-) | (-) | (-) | (-) | (N/m) | (N) | (kW) | (-)
1 | 4.664 | 13.31 | 0 | 12.21 | 4.805 | 0.852 | 0 | 0.21 | 72.32 | 55.6 | 0 | 0.5 | 0 | 0 | 0 | F | 0.316 | -0.122 | -0.039 | 61.28 | -110.214 | -1.146 | T
1 | 4.664 | 13.31 | 90 | 11.79 | 4.64 | 0.845 | 0 | 0.212 | 76.92 | 60.96 | 0 | 0.5 | 0 | 0 | 0 | F | 0.304 | -0.086 | -0.027 | 58.949 | -77.433 | -0.805 | T
1 | 4.664 | 13.31 | 180 | 12.13 | 4.773 | 0.852 | 0 | 0.21 | 72.19 | 55.46 | 0 | 0.5 | 0 | 0 | 0 | F | 0.311 | -0.121 | -0.039 | 60.411 | -109.477 | -1.138 | T
1 | 4.664 | 13.31 | 270 | 12.64 | 4.978 | 0.86 | 0 | 0.207 | 67.83 | 50.5 | 0 | 0.5 | 0 | 0 | 0 | F | 0.326 | -0.16 | -0.051 | 63.238 | -145.112 | -1.508 | T
2 | 9.111 | 13.31 | 0 | 13.76 | 5.896 | 0.996 | 0 | 0.09 | 53.07 | 42.53 | 0 | 0.5 | 0 | 0 | 0 | F | 0.198 | -0.135 | -0.084 | 75.19 | -464.987 | -4.833 | T
2 | 9.111 | 13.31 | 90 | 13.15 | 5.633 | 0.995 | 0 | 0.09 | 59.63 | 46.32 | 0 | 0.5 | 0 | 0 | 0 | F | 0.189 | -0.111 | -0.069 | 71.558 | -382.016 | -3.971 | T
2 | 9.111 | 13.31 | 180 | 13.69 | 5.865 | 0.996 | 0 | 0.09 | 55.63 | 42.32 | 0 | 0.5 | 0 | 0 | 0 | F | 0.196 | -0.134 | -0.083 | 74.229 | -462.564 | -4.808 | T
2 | 9.111 | 13.31 | 270 | 14.37 | 6.154 | 0.996 | 0 | 0.09 | 52.16 | 38.85 | 0 | 0.5 | 0 | 0 | 0 | F | 0.206 | -0.16 | -0.1 | 78.177 | -553.248 | -5.75 | T
3 | 13.558 | 13.31 | 0 | 15.99 | 7.405 | 1 | 0 | 0.064 | 44.72 | 32.11 | 0 | 0.35 | 0 | 0 | 0 | F | 0.117 | -0.116 | -0.107 | 66.108 | -883.295 | -9.182 | T
3 | 13.558 | 13.31 | 90 | 15.23 | 7.056 | 1 | 0 | 0.064 | 48.14 | 34.83 | 0 | 0.35 | 0 | 0 | 0 | F | 0.111 | -0.1 | -0.092 | 62.745 | -762.331 | -7.924 | T
3 | 13.558 | 13.31 | 180 | 15.93 | 7.377 | 1 | 0 | 0.064 | 45.2 | 31.89 | 0 | 0.35 | 0 | 0 | 0 | F | 0.116 | -0.115 | -0.107 | 65.352 | -879.891 | -9.146 | T
3 | 13.558 | 13.31 | 270 | 16.72 | 7.743 | 1 | 0 | 0.064 | 42.73 | 29.43 | 0 | 0.35 | 0 | 0 | 0 | F | 0.122 | -0.132 | -0.122 | 68.86 | -1010.529 | -10.504 | T
4 | 19.117 | 13.31 | 0 | 18.51 | 9.377 | 1 | 0.224 | 0.094 | 28.49 | 15.19 | 1.62 | 0.192 | 0 | 0 | 0 | F | 0.74 | 0.295 | 0.386 | 589.346 | 4490.069 | 70.007 | T
4 | 19.117 | 13.31 | 90 | 17.73 | 8.978 | 1 | 0.207 | 0.1 | 30.5 | 17.19 | 1.688 | 0.277 | 0 | 0 | 0 | F | 0.714 | 0.277 | 0.362 | 568.371 | 4212.534 | 65.68 | T
4 | 19.117 | 13.31 | 180 | 18.46 | 9.35 | 1 | 0.226 | 0.093 | 28.27 | 14.96 | 1.612 | 0.183 | 0 | 0 | 0 | F | 0.731 | 0.293 | 0.382 | 582.26 | 4450.547 | 69.391 | T
4 | 19.117 | 13.31 | 270 | 19.28 | 9.763 | 1 | 0.24 | 0.086 | 26.58 | 13.27 | 1.527 | 0.122 | 0 | 0 | 0 | F | 0.752 | 0.304 | 0.397 | 598.338 | 4627.851 | 72.156 | T
5 | 25.788 | 11.48 | 0 | 22.85 | 11.817 | 1 | 0.263 | 0.059 | 21.53 | 10.05 | 1.48 | 0.016 | 0 | 0 | 0 | F | 0.779 | 0.298 | 0.525 | 836.181 | 8243.466 | 128.529 | T
5 | 25.788 | 11.48 | 90 | 21.97 | 11.361 | 1 | 0.257 | 0.064 | 22.55 | 11.07 | 1.576 | 0.02 | 0 | 0 | 0 | F | 0.762 | 0.305 | 0.538 | 817.829 | 8447.82 | 131.715 | T
5 | 25.788 | 11.48 | 180 | 22.81 | 11.796 | 1 | 0.264 | 0.058 | 21.38 | 9.9 | 1.464 | 0.015 | 0 | 0 | 0 | F | 0.768 | 0.292 | 0.514 | 824.989 | 8071.521 | 125.848 | T
5 | 25.788 | 11.48 | 270 | 23.71 | 12.258 | 1 | 0.268 | 0.054 | 20.5 | 9.02 | 1.371 | 0.013 | 0 | 0 | 0 | F | 0.781 | 0.284 | 0.499 | 838.555 | 7847.578 | 122.356 | T
6 | 32.458 | 10.16 | 0 | 27.56 | 13.653 | 1 | 0.247 | 0.037 | 18.12 | 7.96 | 1.255 | 0.012 | 0 | 0 | 0 | F | 0.746 | 0.237 | 0.524 | 1008.459 | 10370.071 | 161.686 | T
6 | 32.458 | 10.16 | 90 | 26.63 | 13.196 | 1 | 0.245 | 0.039 | 18.77 | 8.61 | 1.329 | 0.013 | 0 | 0 | 0 | F | 0.735 | 0.242 | 0.537 | 993.602 | 10617.131 | 165.538 | T
6 | 32.458 | 10.16 | 180 | 27.52 | 13.637 | 1 | 0.248 | 0.036 | 18 | 7.84 | 1.24 | 0.012 | 0 | 0 | 0 | F | 0.735 | 0.231 | 0.513 | 994.02 | 10140.258 | 158.103 | T
6 | 32.458 | 10.16 | 270 | 28.45 | 14.098 | 1 | 0.249 | 0.034 | 17.43 | 7.27 | 1.169 | 0.012 | 0 | 0 | 0 | F | 0.743 | 0.226 | 0.5 | 1004.658 | 9884.468 | 154.114 | T
7 | 39.129 | 9.01 | 0 | 32.39 | 15.296 | 1 | 0.244 | 0.025 | 15.42 | 6.4 | 1.123 | 0.01 | 0 | 0 | 0 | F | 0.739 | 0.197 | 0.526 | 1204.155 | 12529.668 | 195.357 | T
7 | 39.129 | 9.01 | 90 | 31.44 | 14.849 | 1 | 0.242 | 0.027 | 15.87 | 6.86 | 1.179 | 0.011 | 0 | 0 | 0 | F | 0.73 | 0.201 | 0.536 | 1189.114 | 12775.158 | 199.185 | T
7 | 39.129 | 9.01 | 180 | 32.36 | 15.282 | 1 | 0.244 | 0.025 | 15.3 | 6.29 | 1.109 | 0.01 | 0 | 0 | 0 | F | 0.729 | 0.192 | 0.514 | 1187.224 | 12250.251 | 191.001 | T
7 | 39.129 | 9.01 | 270 | 33.31 | 15.731 | 1 | 0.246 | 0.024 | 14.88 | 5.87 | 1.056 | 0.01 | 0 | 0 | 0 | F | 0.737 | 0.189 | 0.504 | 1200.695 | 12011.111 | 187.272 | T
8 | 45.8 | 7.8 | 0 | 37.3 | 16.612 | 1 | 0.261 | 0.019 | 13.04 | 5.25 | 1.087 | 0.008 | 0 | 0 | 0 | F | 0.772 | 0.173 | 0.54 | 1471.71 | 15068.419 | 234.94 | T
8 | 45.8 | 7.8 | 90 | 36.34 | 16.186 | 1 | 0.256 | 0.02 | 13.43 | 5.63 | 1.125 | 0.009 | 0 | 0 | 0 | F | 0.757 | 0.174 | 0.545 | 1443.844 | 15218.41 | 237.279 | T
8 | 45.8 | 7.8 | 180 | 37.28 | 16.6 | 1 | 0.262 | 0.019 | 12.93 | 5.13 | 1.075 | 0.008 | 0 | 0 | 0 | F | 0.763 | 0.169 | 0.529 | 1454.529 | 14758.248 | 230.104 | T
8 | 45.8 | 7.8 | 270 | 38.24 | 17.028 | 1 | 0.267 | 0.018 | 12.57 | 4.77 | 1.04 | 0.008 | 0 | 0 | 0 | F | 0.777 | 0.167 | 0.523 | 1481.901 | 14597.856 | 227.603 | T
9 | 52.47 | 6.54 | 0 | 42.29 | 17.615 | 1 | 0.267 | 0.015 | 11.38 | 4.84 | 1.046 | 0.008 | 0 | 0 | 0 | F | 0.784 | 0.152 | 0.544 | 1712.967 | 17392.961 | 271.184 | T
9 | 52.47 | 6.54 | 90 | 41.32 | 17.213 | 1 | 0.263 | 0.016 | 11.68 | 5.14 | 1.076 | 0.008 | 0 | 0 | 0 | F | 0.769 | 0.153 | 0.548 | 1680.429 | 17532.453 | 273.359 | T
9 | 52.47 | 6.54 | 180 | 42.26 | 17.605 | 1 | 0.269 | 0.015 | 11.27 | 4.73 | 1.035 | 0.008 | 0 | 0 | 0 | F | 0.775 | 0.149 | 0.533 | 1694.154 | 17024.23 | 265.435 | T
9 | 52.47 | 6.54 | 270 | 43.23 | 18.009 | 1 | 0.274 | 0.014 | 10.99 | 4.44 | 1.006 | 0.008 | 0 | 0 | 0 | F | 0.789 | 0.147 | 0.528 | 1724.814 | 16868.146 | 263.001 | T
10 | 59.141 | 5.36 | 0 | 47.31 | 18.412 | 0.999 | 0.287 | 0.012 | 9.88 | 4.52 | 1.048 | 0.008 | 0 | 0 | 0 | F | 0.819 | 0.136 | 0.55 | 2016.035 | 19832.914 | 309.226 | T
10 | 59.141 | 5.36 | 90 | 46.33 | 18.034 | 0.999 | 0.282 | 0.013 | 10.13 | 4.77 | 1.072 | 0.008 | 0 | 0 | 0 | F | 0.803 | 0.137 | 0.553 | 1977.634 | 19935.562 | 310.826 | T
10 | 59.141 | 5.36 | 180 | 47.29 | 18.404 | 0.999 | 0.29 | 0.012 | 9.77 | 4.41 | 1.037 | 0.008 | 0 | 0 | 0 | F | 0.81 | 0.133 | 0.539 | 1994.979 | 19418.109 | 302.758 | T
10 | 59.141 | 5.36 | 270 | 48.26 | 18.783 | 0.999 | 0.295 | 0.012 | 9.54 | 4.18 | 1.014 | 0.007 | 0 | 0 | 0 | F | 0.825 | 0.133 | 0.536 | 2032.155 | 19298.5 | 300.894 | T
11 | 65.812 | 4.19 | 0 | 52.36 | 18.948 | 0.997 | 0.303 | 0.01 | 8.72 | 4.54 | 1.05 | 0.008 | 0 | 0 | 0 | F | 0.842 | 0.123 | 0.552 | 2307.843 | 22127.344 | 345.001 | T
11 | 65.812 | 4.19 | 90 | 51.39 | 18.595 | 0.997 | 0.297 | 0.011 | 8.93 | 4.74 | 1.07 | 0.008 | 0 | 0 | 0 | F | 0.826 | 0.123 | 0.554 | 2264.492 | 22219.314 | 346.435 | T
11 | 65.812 | 4.19 | 180 | 52.34 | 18.942 | 0.998 | 0.305 | 0.01 | 8.63 | 4.44 | 1.04 | 0.008 | 0 | 0 | 0 | F | 0.834 | 0.12 | 0.54 | 2285.078 | 21659.08 | 337.7 | T
11 | 65.812 | 4.19 | 270 | 53.32 | 19.295 | 0.998 | 0.311 | 0.01 | 8.43 | 4.24 | 1.02 | 0.007 | 0 | 0 | 0 | F | 0.849 | 0.12 | 0.537 | 2327.194 | 21545.182 | 335.924 | T
12 | 72.482 | 3.12 | 0 | 57.46 | 19.222 | 0.992 | 0.29 | 0.008 | 8.09 | 4.96 | 1.007 | 0.006 | 0 | 0 | 0 | F | 0.818 | 0.111 | 0.552 | 2467.452 | 24365.164 | 379.89 | T
12 | 72.482 | 3.12 | 90 | 56.48 | 18.895 | 0.992 | 0.285 | 0.008 | 8.26 | 5.13 | 1.023 | 0.006 | 0 | 0 | 0 | F | 0.802 | 0.112 | 0.552 | 2421.7 | 24377.205 | 380.078 | T
12 | 72.482 | 3.12 | 180 | 57.44 | 19.217 | 0.993 | 0.293 | 0.008 | 8 | 4.88 | 0.997 | 0.006 | 0 | 0 | 0 | F | 0.809 | 0.109 | 0.54 | 2442.546 | 23843.189 | 371.751 | T
12 | 72.482 | 3.12 | 270 | 58.42 | 19.545 | 0.993 | 0.297 | 0.008 | 7.85 | 4.72 | 0.98 | 0.006 | 0 | 0 | 0 | F | 0.823 | 0.109 | 0.538 | 2483.754 | 23748.793 | 370.28 | T
13 | 79.153 | 2.32 | 0 | 62.56 | 19.218 | 0.98 | 0.299 | 0.007 | 7.34 | 5.02 | 1.012 | 0.006 | 0 | 0 | 0 | F | 0.821 | 0.101 | 0.546 | 2705.941 | 26313.701 | 410.274 | T
13 | 79.153 | 2.32 | 90 | 61.58 | 18.917 | 0.979 | 0.294 | 0.007 | 7.48 | 5.16 | 1.026 | 0.006 | 0 | 0 | 0 | F | 0.806 | 0.101 | 0.545 | 2655.136 | 26271.67 | 409.619 | T
13 | 79.153 | 2.32 | 180 | 62.55 | 19.214 | 0.981 | 0.301 | 0.007 | 7.25 | 4.93 | 1.003 | 0.006 | 0 | 0 | 0 | F | 0.813 | 0.099 | 0.534 | 2680.918 | 25764.887 | 401.717 | T
13 | 79.153 | 2.32 | 270 | 63.53 | 19.516 | 0.982 | 0.306 | 0.007 | 7.12 | 4.8 | 0.989 | 0.006 | 0 | 0 | 0 | F | 0.827 | 0.099 | 0.533 | 2726.318 | 25699.453 | 400.697 | T
14 | 85.823 | 1.53 | 0 | 67.67 | 18.938 | 0.949 | 0.313 | 0.006 | 6.64 | 5.12 | 1.022 | 0.006 | 0 | 0 | 0 | F | 0.816 | 0.09 | 0.528 | 2914.49 | 27590.986 | 430.185 | T
14 | 85.823 | 1.53 | 90 | 66.69 | 18.663 | 0.946 | 0.308 | 0.006 | 6.76 | 5.24 | 1.033 | 0.007 | 0 | 0 | 0 | F | 0.8 | 0.09 | 0.526 | 2860.494 | 27523.332 | 429.13 | T
14 | 85.823 | 1.53 | 180 | 67.66 | 18.934 | 0.95 | 0.316 | 0.006 | 6.56 | 5.03 | 1.014 | 0.006 | 0 | 0 | 0 | F | 0.809 | 0.088 | 0.518 | 2891.988 | 27073.252 | 422.113 | T
14 | 85.823 | 1.53 | 270 | 68.64 | 19.21 | 0.952 | 0.321 | 0.006 | 6.45 | 4.92 | 1.002 | 0.006 | 0 | 0 | 0 | F | 0.823 | 0.088 | 0.518 | 2942.381 | 27064.945 | 421.983 | T
15 | 91.382 | 0.86 | 0 | 71.93 | 18.491 | 0.888 | 0.34 | 0.006 | 6 | 5.13 | 1.023 | 0.006 | 0 | 0 | 0 | F | 0.797 | 0.079 | 0.492 | 3033.665 | 27417.219 | 284.993 | T
15 | 91.382 | 0.86 | 90 | 70.95 | 18.238 | 0.885 | 0.335 | 0.006 | 6.1 | 5.24 | 1.033 | 0.007 | 0 | 0 | 0 | F | 0.783 | 0.079 | 0.491 | 2978.386 | 27343.037 | 284.222 | T
15 | 91.382 | 0.86 | 180 | 71.92 | 18.488 | 0.891 | 0.344 | 0.006 | 5.92 | 5.06 | 1.016 | 0.006 | 0 | 0 | 0 | F | 0.791 | 0.077 | 0.483 | 3011.595 | 26898.82 | 279.605 | T
15 | 91.382 | 0.86 | 270 | 72.9 | 18.741 | 0.894 | 0.348 | 0.006 | 5.82 | 4.96 | 1.006 | 0.006 | 0 | 0 | 0 | F | 0.805 | 0.078 | 0.484 | 3064.794 | 26926.678 | 279.894 | T
16 | 95.829 | 0.37 | 0 | 75.33 | 17.464 | 0.788 | 0.382 | 0.005 | 5.36 | 4.99 | 1.01 | 0.006 | 0 | 0 | 0 | F | 0.743 | 0.066 | 0.429 | 2965.536 | 25043.865 | 260.301 | T
16 | 95.829 | 0.37 | 90 | 74.34 | 17.236 | 0.783 | 0.377 | 0.006 | 5.46 | 5.09 | 1.019 | 0.006 | 0 | 0 | 0 | F | 0.73 | 0.065 | 0.428 | 2912.815 | 24988.543 | 259.726 | T
16 | 95.829 | 0.37 | 180 | 75.32 | 17.461 | 0.791 | 0.385 | 0.005 | 5.3 | 4.93 | 1.003 | 0.006 | 0 | 0 | 0 | F | 0.737 | 0.064 | 0.42 | 2941.98 | 24498.783 | 254.635 | T
16 | 95.829 | 0.37 | 270 | 76.3 | 17.69 | 0.795 | 0.389 | 0.005 | 5.21 | 4.84 | 0.993 | 0.006 | 0 | 0 | 0 | F | 0.75 | 0.064 | 0.419 | 2991.219 | 24476.871 | 254.408 | T
17 | 100.276 | 0.11 | 0 | 78.74 | 12.418 | 0.528 | 0.415 | 0.005 | 4.86 | 4.75 | 0.983 | 0.006 | 0 | 0 | 0 | F | 0.514 | 0.041 | 0.279 | 2145.311 | 17021.809 | 176.937 | T
17 | 100.276 | 0.11 | 90 | 77.75 | 12.262 | 0.525 | 0.411 | 0.005 | 4.93 | 4.82 | 0.991 | 0.006 | 0 | 0 | 0 | F | 0.505 | 0.041 | 0.278 | 2108.679 | 16998.953 | 176.699 | T
17 | 100.276 | 0.11 | 180 | 78.73 | 12.416 | 0.531 | 0.418 | 0.005 | 4.8 | 4.69 | 0.976 | 0.006 | 0 | 0 | 0 | F | 0.51 | 0.04 | 0.273 | 2130.18 | 16675.369 | 173.336 | T
17 | 100.276 | 0.11 | 270 | 79.72 | 12.572 | 0.534 | 0.421 | 0.005 | 4.73 | 4.62 | 0.968 | 0.006 | 0 | 0 | 0 | F | 0.519 | 0.04 | 0.273 | 2167.104 | 16702.232 | 173.615 | T

## avg loads for DYMORE
rotor radius |  | 102.5 | m
rotation speed |  | 7.44 | rpm
wind speed |  | 11.4 | m/s
Element | RElm | Thrust/Len | avg Thrust/Length | RElm | span | eta | avg Thrust/Length
(-) | (m) | (N/m) | (N/m) | (m) | (m) | (-) | (N/m)
1 | 4.664 | 61.28 | 60.9695 | 4.664 | 2.164 | 0.02164 | 60.9695
1 | 4.664 | 58.949 |  | 9.111 | 6.611 | 0.06611 | 74.7885
1 | 4.664 | 60.411 |  | 13.558 | 11.058 | 0.11058 | 65.7662
1 | 4.664 | 63.238 |  | 19.117 | 16.617 | 0.16617 | 584.5788
|  |  |  | 25.788 | 23.288 | 0.23288 | 829.3885
2 | 9.111 | 75.19 | 74.7885 | 32.458 | 29.958 | 0.29958 | 1000.1848
2 | 9.111 | 71.558 |  | 39.129 | 36.629 | 0.36629 | 1195.297
2 | 9.111 | 74.229 |  | 45.8 | 43.3 | 0.433 | 1462.996
2 | 9.111 | 78.177 |  | 52.47 | 49.97 | 0.4997 | 1703.091
|  |  |  | 59.141 | 56.641 | 0.56641 | 2005.2007
3 | 13.558 | 66.108 | 65.7662 | 65.812 | 63.312 | 0.63312 | 2296.1517
3 | 13.558 | 62.745 |  | 72.482 | 69.982 | 0.69982 | 2453.863
3 | 13.558 | 65.352 |  | 79.153 | 76.653 | 0.76653 | 2692.0782
3 | 13.558 | 68.86 |  | 85.823 | 83.323 | 0.83323 | 2902.3382
|  |  |  | 91.382 | 88.882 | 0.88882 | 3022.11
4 | 19.117 | 589.346 | 584.5788 | 95.829 | 93.329 | 0.93329 | 2952.8875
4 | 19.117 | 568.371 |  | 100.276 | 97.776 | 0.97776 | 2137.8185
4 | 19.117 | 582.26
4 | 19.117 | 598.338
5 | 25.788 | 836.181 | 829.3885
5 | 25.788 | 817.829
5 | 25.788 | 824.989
5 | 25.788 | 838.555
6 | 32.458 | 1008.459 | 1000.1848
6 | 32.458 | 993.602
6 | 32.458 | 994.02
6 | 32.458 | 1004.658
7 | 39.129 | 1204.155 | 1195.297
7 | 39.129 | 1189.114
7 | 39.129 | 1187.224
7 | 39.129 | 1200.695
8 | 45.8 | 1471.71 | 1462.996
8 | 45.8 | 1443.844
8 | 45.8 | 1454.529
8 | 45.8 | 1481.901
9 | 52.47 | 1712.967 | 1703.091
9 | 52.47 | 1680.429
9 | 52.47 | 1694.154
9 | 52.47 | 1724.814
10 | 59.141 | 2016.035 | 2005.2007
10 | 59.141 | 1977.634
10 | 59.141 | 1994.979
10 | 59.141 | 2032.155
11 | 65.812 | 2307.843 | 2296.1517
11 | 65.812 | 2264.492
11 | 65.812 | 2285.078
11 | 65.812 | 2327.194
12 | 72.482 | 2467.452 | 2453.863
12 | 72.482 | 2421.7
12 | 72.482 | 2442.546
12 | 72.482 | 2483.754
13 | 79.153 | 2705.941 | 2692.0782
13 | 79.153 | 2655.136
13 | 79.153 | 2680.918
13 | 79.153 | 2726.318
14 | 85.823 | 2914.49 | 2902.3382
14 | 85.823 | 2860.494
14 | 85.823 | 2891.988
14 | 85.823 | 2942.381
15 | 91.382 | 3033.665 | 3022.11
15 | 91.382 | 2978.386
15 | 91.382 | 3011.595
15 | 91.382 | 3064.794
16 | 95.829 | 2965.536 | 2952.8875
16 | 95.829 | 2912.815
16 | 95.829 | 2941.98
16 | 95.829 | 2991.219
17 | 100.276 | 2145.311 | 2137.8185
17 | 100.276 | 2108.679
17 | 100.276 | 2130.18
17 | 100.276 | 2167.104
Note on J5: Perry Roth-Johnson: subtract the hub radius from the RElm values to get the correct span location on the blade, where the thrust load should be applied
Note on K5: Perry Roth-Johnson: span normalized by blade length (100 m)

## flap load dist for DYMORE
rotor radius |  | 102.5 | m
rotation speed |  | 7.44 | rpm
wind speed |  | 11.4 | m/s
[8 empty] | interpolated Sandia |  |  |  | interpolated biplane |  | interpolated biplane/2
Element | RElm | Thrust/Len | summed Thrust/Length | RElm | eta | span | summed Thrust/Length | span | thrust/length |  | station | span | monoplane thrust/length | biplane thrust/length
(-) | (m) | (N/m) | (N/m) | (m) | (-) | (m) | (N/m) | (m) | (N/m) |  | (#) | (m) | (N/m) | (N/m)
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | 0 | 0 | 0
1 | 4.664 | 61.28 | 243.878 | 4.664 | 0.02164 | 2.164 | 243.878 | 0.5 | 56.3489 |  | 2 | 0.5 | 56.3489 | 56.3489
1 | 4.664 | 58.949 |  | 9.111 | 0.06611 | 6.611 | 299.154 | 0.7 | 78.8884 |  | 3 | 0.7 | 78.8884 | 78.8884
1 | 4.664 | 60.411 |  | 13.558 | 0.11058 | 11.058 | 263.065 | 0.9 | 101.428 |  | 4 | 0.9 | 101.428 | 101.428
1 | 4.664 | 63.238 |  | 19.117 | 0.16617 | 16.617 | 2338.315 | 1.1 | 123.9676 |  | 5 | 1.1 | 123.9676 | 123.9676
|  |  |  | 25.788 | 0.23288 | 23.288 | 3317.554 | 1.3 | 146.5071 |  | 6 | 1.3 | 146.5071 | 146.5071
2 | 9.111 | 75.19 | 299.154 | 32.458 | 0.29958 | 29.958 | 4000.739 | 2.4 | 246.8115 |  | 7 | 2.4 | 246.8115 | 246.8115
2 | 9.111 | 71.558 |  | 39.129 | 0.36629 | 36.629 | 4781.188 | 2.6 | 249.2975 |  | 8 | 2.6 | 249.2975 | 249.2975
2 | 9.111 | 74.229 |  | 45.8 | 0.433 | 43.3 | 5851.984 | 4.7 | 275.4004 | monoplane | 9 | 4.7 | 275.4004 | 275.4004
2 | 9.111 | 78.177 |  | 52.47 | 0.4997 | 49.97 | 6812.364 | 6.8 | 297.6202 | biplane | 10 | 6.8 | 297.6202 | 148.8101
|  |  |  | 59.141 | 0.56641 | 56.641 | 8020.803 | 8.9 | 280.5779 |  | 11 | 8.9 | 280.5779 | 140.289
3 | 13.558 | 66.108 | 263.065 | 65.812 | 0.63312 | 63.312 | 9184.607 | 11.4 | 390.7382 |  | 12 | 11.4 | 390.7382 | 195.3691
3 | 13.558 | 62.745 |  | 72.482 | 0.69982 | 69.982 | 9815.452 | 14.6 | 1585.3416 |  | 13 | 14.6 | 1585.3416 | 792.6708
3 | 13.558 | 65.352 |  | 79.153 | 0.76653 | 76.653 | 10768.313 | 16.3 | 2219.9746 |  | 14 | 16.3 | 2219.9746 | 1109.9873
3 | 13.558 | 68.86 |  | 85.823 | 0.83323 | 83.323 | 11609.353 | 17.9 | 2526.6471 |  | 15 | 17.9 | 2526.6471 | 1263.3236
|  |  |  | 91.382 | 0.88882 | 88.882 | 12088.44 | 19.5 | 2761.5118 |  | 16 | 19.5 | 2761.5118 | 1380.7559
4 | 19.117 | 589.346 | 2338.315 | 95.829 | 0.93329 | 93.329 | 11811.55 | 22.2 | 3157.846 |  | 17 | 22.2 | 3157.846 | 1578.923
4 | 19.117 | 568.371 |  | 100.276 | 0.97776 | 97.776 | 8551.274 | 24.9 | 3482.6656 |  | 18 | 24.9 | 3482.6656 | 1741.3328
4 | 19.117 | 582.26 |  |  | 0 | 100 | 0 | 27.6 | 3759.2172 |  | 19 | 27.6 | 3759.2172 | 1879.6086
4 | 19.117 | 598.338 | [5 empty] | 35.8 | 4684.2022 |  | 20 | 30.333 | 4044.6107 | 2022.3054
[8 empty] | 43.9 | 5938.375 |  | 21 | 33.067 | 4364.465 | 2182.2325
5 | 25.788 | 836.181 | 3317.554 |  |  |  |  | 52 | 7180.0947 |  | 22 | 35.8 | 4684.2022 | 2342.1011
5 | 25.788 | 817.829 | [5 empty] | 60.2 | 8641.6962 |  | 23 | 38.5 | 5081.5117 | 2540.7558
5 | 25.788 | 824.989 | [5 empty] | 66.7 | 9505.0422 | biplane | 24 | 41.2 | 5514.9024 | 2757.4512
5 | 25.788 | 838.555 | [5 empty] | 68.3 | 9656.3693 | monoplane | 25 | 43.9 | 5938.375 | 5938.375 | if the loads are different in each azimuthal quadrant, maybe the wind inflow isn't uniform….maybe it's sheared
[8 empty] | 73.2 | 10275.0992 |  | 26 | 46.6 | 6327.1345 | 6327.1345
6 | 32.458 | 1008.459 | 4000.739 |  |  |  |  | 76.4 | 10732.1754 |  | 27 | 49.3 | 6715.894 | 6715.894
6 | 32.458 | 993.602 | [5 empty] | 84.6 | 11719.4077 |  | 28 | 52 | 7180.0947 | 7180.0947
6 | 32.458 | 994.02 | [5 empty] | 89.4 | 12056.187 |  | 29 | 60.2 | 8641.6962 | 8641.6962
6 | 32.458 | 1004.658 | [5 empty] | 94.3 | 11099.6705 |  | 30 | 66.7 | 9505.0422 | 9505.0422
[8 empty] | 95.7 | 10073.2738 |  | 31 | 68.3 | 9656.3693 | 9656.3693
7 | 39.129 | 1204.155 | 4781.188 |  |  |  |  | 97.2 | 8973.563 |  | 32 | 73.2 | 10275.0992 | 10275.0992
7 | 39.129 | 1189.114 | [5 empty] | 98.6 | 5382.9962 |  | 33 | 76.4 | 10732.1754 | 10732.1754
7 | 39.129 | 1187.224 | [5 empty] | 100 | 0 |  | 34 | 84.6 | 11719.4077 | 11719.4077
7 | 39.129 | 1200.695 | [8 empty] | 35 | 89.4 | 12056.187 | 12056.187
[11 empty] | 36 | 94.3 | 11099.6705 | 11099.6705
8 | 45.8 | 1471.71 | 5851.984 | [7 empty] | 37 | 95.7 | 10073.2738 | 10073.2738
8 | 45.8 | 1443.844 | [8 empty] | 38 | 97.2 | 8973.563 | 8973.563
8 | 45.8 | 1454.529 | [8 empty] | 39 | 98.6 | 5382.9962 | 5382.9962
8 | 45.8 | 1481.901 | [8 empty] | 40 | 100 | 0 | 0
9 | 52.47 | 1712.967 | 6812.364
9 | 52.47 | 1680.429
9 | 52.47 | 1694.154
9 | 52.47 | 1724.814
10 | 59.141 | 2016.035 | 8020.803
10 | 59.141 | 1977.634
10 | 59.141 | 1994.979
10 | 59.141 | 2032.155
11 | 65.812 | 2307.843 | 9184.607
11 | 65.812 | 2264.492
11 | 65.812 | 2285.078
11 | 65.812 | 2327.194
12 | 72.482 | 2467.452 | 9815.452
12 | 72.482 | 2421.7
12 | 72.482 | 2442.546
12 | 72.482 | 2483.754
13 | 79.153 | 2705.941 | 10768.313
13 | 79.153 | 2655.136
13 | 79.153 | 2680.918
13 | 79.153 | 2726.318
14 | 85.823 | 2914.49 | 11609.353
14 | 85.823 | 2860.494
14 | 85.823 | 2891.988
14 | 85.823 | 2942.381
15 | 91.382 | 3033.665 | 12088.44
15 | 91.382 | 2978.386
15 | 91.382 | 3011.595
15 | 91.382 | 3064.794
16 | 95.829 | 2965.536 | 11811.55
16 | 95.829 | 2912.815
16 | 95.829 | 2941.98
16 | 95.829 | 2991.219
17 | 100.276 | 2145.311 | 8551.274
17 | 100.276 | 2108.679
17 | 100.276 | 2130.18
17 | 100.276 | 2167.104
Note on I5: Perry Roth-Johnson: span normalized by blade length (100 m)
Note on K5: Perry Roth-Johnson: subtract the hub radius from the RElm values to get the correct span location on the blade, where the thrust load should be applied